## RS Means Cost Data
component | type | product | functional_unit | unit_cost | total_cost | total_cost_inc_op | rs_means_category | Note
Underfloor Insulation | structure | Generic Blown Cellulose R-30 | ft2 | 0.73 | 1.37 | 1.67 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Cellulose R-38 | ft2 | 0.93 | 1.85 | 2.28 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Cellulose R-49 | ft2 | 1.15 | 2.22 | 2.74 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Cellulose R-60 | ft2 | 1.46 | 2.74 | 3.34 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Fiberglass Batt R-30 | ft2 | 1.14 | 2.04 | 2.59 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Underfloor Insulation | structure | Generic Fiberglass Batt R-38 | ft2 | 1.44 | 2.39 | 2.99 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Underfloor Insulation | structure | Generic Fiberglass Batt R-49 | ft2 | 2.13 | 3.78 | 4.80 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Underfloor Insulation | structure | Generic Fiberglass Batt R-60 | ft2 | 2.28 | 4.08 | 5.18 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Underfloor Insulation | structure | Generic Blown Fiberglass R-30 | ft2 | 0.69 | 1.87 | 2.37 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Fiberglass R-38 | ft2 | 0.88 | 2.33 | 2.93 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Fiberglass R-49 | ft2 | 1.17 | 2.97 | 3.74 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Generic Blown Fiberglass R-60 | ft2 | 1.38 | 3.74 | 4.74 | 07 21 26.10 Blown Insulation
Underfloor Insulation | structure | Polystyrene Foam Board R-4 | ft2 | 0.28 | 0.94 | 1.30 | 07 21 13.13 Foam Board Insulation
Underfloor Insulation | structure | Polystyrene Foam Board R-8 | ft2 | 0.56 | 1.23 | 1.61 | 07 21 13.13 Foam Board Insulation
Underfloor Insulation | structure | Polyurethane Foam Board R-13.1 | ft2 | 1.11 | 1.73 | 2.14 | 07 21 13.10 Rigid Insulation
Underfloor Ductwork | structure | Steel rectangular duct, 28 Gauge, 10x8" | ft | 1.74 | 17.45 | 25.61 | 23 31 13.13 Rectangular Metal Ducts | 2.64 lb/ft (https://www.eccomfg.com/wp-content/uploads/2021/05/A1-Galvanized-Duct-and-Accessories-W-4c-Final.pdf)
Underfloor Ductwork | structure | Steel rectangular duct, 28 Gauge, 16x8" | ft | 2.11 | 21.09 | 30.94 | 23 31 13.13 Rectangular Metal Ducts | 3.19 lb/ft (https://www.eccomfg.com/wp-content/uploads/2021/05/A1-Galvanized-Duct-and-Accessories-W-4c-Final.pdf)
Underfloor Ductwork | structure | Steel rectangular duct, 28 Gauge, 20x8" | ft | 2.43 | 24.32 | 35.70 | 23 31 13.13 Rectangular Metal Ducts | 3.68 lb/ft (https://www.eccomfg.com/wp-content/uploads/2021/05/A1-Galvanized-Duct-and-Accessories-W-4c-Final.pdf)
Underfloor Ductwork | structure | Aluminum round duct, 10 Guage, 4" OD | ft | 3.06 | 26.99 | 39.00 | 23 31 13.13 Rectangular Metal Ducts | 1.5 lb/ft (https://www.albinaco.com/pdfs/Aluminum-Shapes.pdf)
Underfloor Ductwork | structure | Aluminum round duct, 10 Guage, 6" OD | ft | 3.47 | 30.58 | 44.20 | 23 31 13.13 Rectangular Metal Ducts | 1.7 lb/ft (https://www.albinaco.com/pdfs/Aluminum-Shapes.pdf)
Underfloor Ductwork | structure | Aluminum round duct, 10 Guage, 6" OD | ft | 4.69 | 41.38 | 59.80 | 23 31 13.13 Rectangular Metal Ducts | 2.3 lb/ft (https://www.albinaco.com/pdfs/Aluminum-Shapes.pdf)
Heating/Cooling Unit or HVAC | structure | Air source heat pump, 5 ton cooling, 27 MBH | ea | 2500.00 | 4525.00 | 5775.00 | 23 81 43.10 Air-source heat pumps
Heating/Cooling Unit or HVAC | structure | Air source heat pump, 7.5 ton cooling, 33 MBH | ea | 3725.00 | 5975.00 | 7450.00 | 23 81 43.10 Air-source heat pumps
Heating/Cooling Unit or HVAC | structure | Air source heat pump, 10 ton cooling, 50 MBH | ea | 6150.00 | 8625.00 | 10500.00 | 23 81 43.10 Air-source heat pumps
Heating/Cooling Unit or HVAC | structure | Air source heat pump, 15 ton cooling, 64 MBH | ea | 10700.00 | 13850.00 | 16500.00 | 23 81 43.10 Air-source heat pumps
Heating/Cooling Unit or HVAC | structure | Gas-fired furnace, 45MBH | ea | 715.00 | 958.00 | 1150.00 | 23 54 16.13 gas-fired furnaces
Heating/Cooling Unit or HVAC | structure | Gas-fired furnace, 60MBH | ea | 645.00 | 901.00 | 1100.00 | 23 54 16.13 gas-fired furnaces
Heating/Cooling Unit or HVAC | structure | Gas-fired furnace, 75MBH | ea | 880.00 | 1150.00 | 1375.00 | 23 54 16.13 gas-fired furnaces
Heating/Cooling Unit or HVAC | structure | Gas-fired furnace, 100MBH | ea | 840.00 | 1145.00 | 1375.00 | 23 54 16.13 gas-fired furnaces
Heating/Cooling Unit or HVAC | structure | Electric furnace - 10.2MBH | ea | 345.00 | 626.00 | 800.00 | 23 54 13.10 electric furnaces
Heating/Cooling Unit or HVAC | structure | Electric furnace - 17.1MBH | ea | 420.00 | 689.00 | 870.00 | 23 54 13.10 electric furnaces
Heating/Cooling Unit or HVAC | structure | Electric furnace - 34.1MBH | ea | 530.00 | 811.00 | 1000.00 | 23 54 13.10 electric furnaces
Heating/Cooling Unit or HVAC | structure | Oil-fired furnace - 56MBH | ea | 3375.00 | 3645.00 | 4125.00 | 23 54 16.16 oil-fired furnaces
Heating/Cooling Unit or HVAC | structure | Oil-fired furnace - 84MBH | ea | 3575.00 | 3853.00 | 4350.00 | 23 54 16.16 oil-fired furnaces
Heating/Cooling Unit or HVAC | structure | Oil-fired furnace - 95MBH | ea | 3600.00 | 3886.00 | 4375.00 | 23 54 16.16 oil-fired furnaces
Heating/Cooling Unit or HVAC | structure | Oil-fired furnace - 134MBH | ea | 3500.00 | 3805.00 | 4300.00 | 23 54 16.16 oil-fired furnaces
Wood Subfloor | structure | Plywood, CDX 1/2", Pneumatic nailed | ft2 | 0.76 | 1.24 | 1.56 | 06 16 23.10 Subfloor
Wood Subfloor | structure | Plywood, CDX 5/8", Pneumatic nailed | ft2 | 0.82 | 1.36 | 1.70 | 06 16 23.10 Subfloor
Wood Subfloor | structure | Plywood, CDX 3/4", Pneumatic nailed | ft2 | 0.94 | 1.52 | 1.91 | 06 16 23.10 Subfloor
Finished Floor Underlayment | structure | Plywood, underlayment grade 1/4", Pneumatic nailed | ft2 | 1.85 | 2.33 | 2.76 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Plywood, underlayment grade 3/8", Pneumatic nailed | ft2 | 2.06 | 2.54 | 2.99 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Plywood, underlayment grade 1/2", Pneumatic nailed | ft2 | 2.75 | 3.25 | 3.78 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Plywood, underlayment grade 5/8", Pneumatic nailed | ft2 | 2.81 | 3.33 | 3.86 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Plywood, underlayment grade 3/4", Pneumatic nailed | ft2 | 3.08 | 3.64 | 4.22 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Particle board, 3/8", Pneumatic nailed | ft2 | 0.58 | 1.06 | 1.36 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Particle board, 1/2", Pneumatic nailed | ft2 | 1.00 | 1.5 | 1.85 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Particle board, 5/8", Pneumatic nailed | ft2 | 1.03 | 1.55 | 1.90 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Particle board, 3/4", Pneumatic nailed | ft2 | 1.06 | 1.62 | 2.00 | 06 16 26.10 Wood Product Underlayment
Finished Floor Underlayment | structure | Hardboard, underlayment grade, .215" | ft2 | 0.87 | 1.47 | 1.85 | 06 16 26.10 Wood Product Underlayment
Finished Floor | structure | Natural Finish, 1" fir | ft2 | 4.14 | 7.74 | 9.90 | 09 64 16.10 End Grain Block Flooring
Finished Floor | structure | Natural Finish, 1.5" pine | ft2 | 4.06 | 7.66 | 9.80 | 09 64 16.10 End Grain Block Flooring
Finished Floor | structure | Natural Finish, 2" pine | ft2 | 4.70 | 8.3 | 10.50 | 09 64 16.10 End Grain Block Flooring
Finished Floor | structure | Fir, vertical grain, grade B & better | ft2 | 5.30 | 7.07 | 8.50 | 09 64 29.10 Wood Strip and Plank Flooring
Finished Floor | structure | Maple, strip, select | ft2 | 5.35 | 8 | 9.80 | 09 64 29.10 Wood Strip and Plank Flooring
Finished Floor | structure | Oak, white or red, #1 common | ft2 | 4.16 | 6.81 | 8.50 | 09 64 29.10 Wood Strip and Plank Flooring
Finished Floor | structure | Portlnd Cement Terrazzo, floor, bonded to concrete | ft2 | 4.09 | 17.73 | 23.50 | 09 66 13.10 Portland Cement Terrazzo
Finished Floor | structure | Monolithic terrazzo, 1/2" thick, 10' panels | ft2 | 3.62 | 11.84 | 15.30 | 09 66 13.10 Portland Cement Terrazzo
Finished Floor | structure | Unglazed ceramic tiles | ft2 | 2.53 | 6.79 | 9.05 | 09 31 13.10 Thin-Set Ceramic Tile
Finished Floor | structure | Marble, thin gauge tile, 3/8", white carara | ft2 | 7.65 | 20.45 | 27.00 | 09 63 40.10 Marble
Finished Floor | structure | Marble, 3/8", thin set, floors | ft2 | 0.81 | 13.61 | 21.10 | 09 63 40.10 Marble
Finished Floor | structure | Cork tile, standard finish, 1/8" | ft2 | 3.51 | 4.86 | 5.85 | 09 62 29.10 Cork Tile Flooring
Finished Floor | structure | Cork tile, standard finish, 3/16" | ft2 | 5.10 | 6.45 | 7.55 | 09 62 29.10 Cork Tile Flooring
Finished Floor | structure | Cork tile, standard finish, 5/16" | ft2 | 4.49 | 5.84 | 6.90 | 09 62 29.10 Cork Tile Flooring
Finished Floor | structure | Cork tile, standard finish, 1/2" | ft2 | 4.12 | 5.47 | 6.50 | 09 62 29.10 Cork Tile Flooring
Finished Floor | structure | Floating floor, laminate, wood pattern strip, complete | ft2 | 5.45 | 8.19 | 10.10 | 09 62 19.10 Floating Floor
Finished Floor | structure | Linoleum, sheet goods | ft2 | 3.92 | 5.1 | 6.05 | 09 65 16.10 Rubber and Vinyl Sheet Flooring
Finished Floor | structure | Rubber, sheet goods, 1/8" | ft2 | 1.32 | 4.86 | 6.65 | 09 65 16.10 Rubber and Vinyl Sheet Flooring
Finished Floor | structure | Rubber, sheet goods, 3/16" | ft2 | 9.15 | 13.4 | 16.30 | 09 65 16.10 Rubber and Vinyl Sheet Flooring
Finished Floor | structure | Rubber, sheet goods, 1/4" | ft2 | 1.83 | 6.55 | 8.90 | 09 65 16.10 Rubber and Vinyl Sheet Flooring
Finished Floor | structure | Vinyl tile, 3/32" | ft2 | 1.36 | 2.21 | 2.74 | 09 65 19.23 Vinyl Tile Flooring
Finished Floor | structure | Vinyl tile, 1/8" | ft2 | 1.17 | 0.85 | 2.02 | 09 65 19.23 Vinyl Tile Flooring
Finished Floor | structure | Nylon, level loop, 26 oz | ft2 | 1.77 | 2.39 | 2.89 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Nylon, level loop, 28 oz | ft2 | 3.56 | 4.18 | 4.89 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Nylon, level loop, 32 oz | ft2 | 4.61 | 5.24 | 6.00 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Wool, level loop, 40 oz | ft2 | 13.00 | 13.67 | 15.33 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Wool, level loop, 50 oz | ft2 | 12.11 | 12.78 | 14.33 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Wool, patterned, 32 oz | ft2 | 11.06 | 11.73 | 13.11 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Olefin, 24 oz | ft2 | 1.28 | 1.91 | 2.33 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Olefin, 26 oz | ft2 | 1.43 | 2.06 | 2.50 | 09 68 16.10 Sheet Carpet
Finished Floor | structure | Olefin, 28 oz | ft2 | 2.78 | 3.41 | 4.00 | 09 68 16.10 Sheet Carpet
Bottom Cabinets | structure | Economy Kitchen, 6 L.F. - Rule of thumb kitchen cabinets, min | ea | 1248.00 | 1428.00 | 1644.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Bottom Cabinets | structure | Economy Kitchen, 6 L.F. - Rule of thumb kitchen cabinets, max | ea | 2760.00 | 2976.00 | 3390.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Bottom Cabinets | structure | Average Kitchen, 14 L.F. - Rule of thumb kitchen cabinets, min | ea | 2912.00 | 3332.00 | 3836.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Bottom Cabinets | structure | Average Kitchen, 14 L.F. - Rule of thumb kitchen cabinets, max | ea | 6440.00 | 6944.00 | 7910.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Bottom Cabinets | structure | Luxury Kitchen, 25 L.F. - Rule of thumb kitchen cabinets, min | ea | 5200.00 | 5950.00 | 6850.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Bottom Cabinets | structure | Luxury Kitchen, 25 L.F. - Rule of thumb kitchen cabinets, max | ea | 11500.00 | 12400.00 | 14125.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Economy Kitchen, 6 L.F. - Rule of thumb kitchen cabinets, min | ea | 1248.00 | 1428.00 | 1644.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Economy Kitchen, 6 L.F. - Rule of thumb kitchen cabinets, max | ea | 2760.00 | 2976.00 | 3390.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Average Kitchen, 14 L.F. - Rule of thumb kitchen cabinets, min | ea | 2912.00 | 3332.00 | 3836.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Average Kitchen, 14 L.F. - Rule of thumb kitchen cabinets, max | ea | 6440.00 | 6944.00 | 7910.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Luxury Kitchen, 25 L.F. - Rule of thumb kitchen cabinets, min | ea | 5200.00 | 5950.00 | 6850.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Top Cabinets | structure | Luxury Kitchen, 25 L.F. - Rule of thumb kitchen cabinets, max | ea | 11500.00 | 12400.00 | 14125.00 | 12 32 23.10 Manufactured Wood Casework, Stock Units
Counter Tops | structure | Economy Kitchen, 6 L.F. - Stock 24" wide w/ backsplash, min | ea | 105.90 | 195.90 | 252.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Counter Tops | structure | Economy Kitchen, 6 L.F. - Stock 24" wide w/ backsplash, max | ea | 255.00 | 363.00 | 444.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Counter Tops | structure | Average Kitchen, 14 L.F. - Stock 24" wide w/ backsplash, min | ea | 247.10 | 457.10 | 588.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Counter Tops | structure | Average Kitchen, 14 L.F. - Stock 24" wide w/ backsplash, max | ea | 595.00 | 847.00 | 1036.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Counter Tops | structure | Luxury Kitchen, 25 L.F. - Stock 24" wide w/ backsplash, min | ea | 441.25 | 816.25 | 1050.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Counter Tops | structure | Luxury Kitchen, 25 L.F. - Stock 24" wide w/ backsplash, max | ea | 1062.50 | 1512.50 | 1850.00 | 12 36 23.13 Plastic Laminate-Clad Countertops
Bathroom Bottom Cabinets | structure | Vanity bases, 2 doors, 30" high 21" deep, 24" wide | ea | 455.00 | 500.00 | 565.00 | 12 32 23.30 Manufactured Wood Casework Vanities
Bathroom Bottom Cabinets | structure | Vanity bases, 2 doors, 30" high 21" deep, 30" wide | ea | 480.00 | 536.50 | 610.00 | 12 32 23.30 Manufactured Wood Casework Vanities
Bathroom Bottom Cabinets | structure | Vanity bases, 2 doors, 30" high 21" deep, 36" wide | ea | 405.00 | 472.50 | 545.00 | 12 32 23.30 Manufactured Wood Casework Vanities
Bathroom Bottom Cabinets | structure | Vanity bases, 2 doors, 30" high 21" deep, 48" wide | ea | 530.00 | 609.00 | 695.00 | 12 32 23.30 Manufactured Wood Casework Vanities
Bathroom Top Cabinets | structure | Medicine Cabinet, sst frame | ea | 226.00 | 258.00 | 297.00 | 10 28 16.20 Medicine Cabinets
Bathroom Top Cabinets | structure | Medicine Cabinet, wood frame | ea | 149.00 | 181.00 | 212.00 | 10 28 16.20 Medicine Cabinets
Bathroom Top Cabinets | structure | Medicine Cabinet, Sliding mirror doors, 20" | ea | 145.00 | 209.50 | 256.00 | 10 28 16.20 Medicine Cabinets
Bathroom Top Cabinets | structure | Medicine Cabinet, Sliding mirror doors, 24", lighted | ea | 167.00 | 257.00 | 320.00 | 10 28 16.20 Medicine Cabinets
Water Heater | structure | Electric water heater, glass lined, 30 gallon, minimum | ea | 720.00 | 938.00 | 1125.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Electric water heater, glass lined, 30 gallon, maximum | ea | 1000.00 | 1365.00 | 1650.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Electric water heater, glass lined, 80 gallon, minimum | ea | 2000.00 | 2545.00 | 3000.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Electric water heater, glass lined, 80 gallon, maximum | ea | 2775.00 | 3875.00 | 4675.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Gas water heater, glass lined, 30 gallon, minimum | ea | 1825.00 | 2048.00 | 2325.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Gas water heater, glass lined, 30 gallon, maximum | ea | 2525.00 | 2895.00 | 3325.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Gas water heater, glass lined, 50 gallon, minimum | ea | 710.00 | 1155.00 | 1450.00 | 11 30 15.23 Water Heaters
Water Heater | structure | Gas water heater, glass lined, 50 gallon, maximum | ea | 985.00 | 1730.00 | 2175.00 | 11 30 15.23 Water Heaters
Wall Paint - Interior | structure | latex interior paint + primer | ft2 | 0.36 | 0.48 | 1.11 | 09 91 23.72.0840 Painting Walls and Ceilings, Interior - Paint 2 coats, smooth finish, roller
Wall Paint - Exterior | structure | latex exterior paint + primer | ft2 | 0.42 | 1.20 | 1.62 | 09 91 13.62.140 Exterior Painting, Siding, Misc. - Primer & 2 coats exterior latex
Exterior Doors | structure | Aluminum entrance door | ea | 1125.00 | 1620.00 | 1975.00 | 08 11 16.10 Aluminum Entrance Doors
Exterior Doors | structure | wood exterior door, combo storm & screen | ea | 325.00 | 415.00 | 495.00 | 08 14 33.20 Wood Doors Residential
Exterior Doors | structure | wood exterior door, entrance door, colonial | ea | 630.00 | 686.50 | 780.00 | 08 14 33.20 Wood Doors Residential
Exterior Doors | structure | wood exterior door, Dutch door, pine | ea | 1175.00 | 1250.00 | 1375.00 | 08 14 33.20 Wood Doors Residential
Exterior Doors | structure | fiberglass exterior door | ea | 281.00 | 341.00 | 400.00 | 08 16 13.10 Entrance Doors, Fibrous Glass
Exterior Doors | structure | fiberglass exterior door | ea | 485.00 | 545.00 | 625.00 | 08 16 13.10 Entrance Doors, Fibrous Glass
Exterior Doors | structure | steel exterior door, embossed full panel | ea | 480.00 | 533.00 | 610.00 | 08 13 13.20 Residential Steel Doors
Exterior Doors | structure | steel exterior door, flush face, full panel | ea | 475.00 | 531.50 | 605.00 | 08 13 13.20 Residential Steel Doors
Interior Doors | structure | Passage door, hardboard, hollow core | ea | 43.00 | 93.00 | 122.00 | 08 14 33.20 Wood Doors Residential
Interior Doors | structure | Passage door, Lauan, hollow core | ea | 85.00 | 135.00 | 168.00 | 08 14 33.20 Wood Doors Residential
Interior Doors | structure | Passage door, Pine paneled | ea | 222.00 | 269.50 | 315.00 | 08 14 33.20 Wood Doors Residential
Sheetrock/drywall | structure | Gypsum Board, standard, 3/8" | ft2 | 0.25 | 0.70 | 0.95 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, standard, 1/2" | ft2 | 0.25 | 0.70 | 0.95 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, standard, 5/8" | ft2 | 0.26 | 0.71 | 0.96 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, fire resistant, 1/2" | ft2 | 0.46 | 0.91 | 1.18 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, fire resistant, 5/8" | ft2 | 0.34 | 0.79 | 1.04 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, water resistant, 1/2" | ft2 | 0.33 | 0.78 | 1.03 | 09 29 10.30 Gypsum Board
Sheetrock/drywall | structure | Gypsum Board, water resistant, 5/8" | ft2 | 0.43 | 0.88 | 1.14 | 09 29 10.30 Gypsum Board
Wall Insulation | structure | Generic Blown Cellulose R-13 | ft2 | 0.29 | 0.62 | 0.77 | 07 21 26.10 Blown Insulation
Wall Insulation | structure | Generic Blown Cellulose R-19 | ft2 | 0.42 | 0.85 | 1.07 | 07 21 26.10 Blown Insulation
Wall Insulation | structure | Generic Fiberglass Roll R-13 | ft2 | 0.60 | 0.93 | 1.16 | 07 21 16.20 Blanket Insulation for Walls
Wall Insulation | structure | Generic Fiberglass Roll R-19 | ft2 | 0.86 | 1.19 | 1.45 | 07 21 16.20 Blanket Insulation for Walls
Wall Insulation | structure | Rigid Fiberglass 1.5#/CF R-12.4 | ft2 | 0.75 | 1.31 | 1.67 | 07 21 13.10 Rigid Insulation
Wall Insulation | structure | Rigid Fiberglass 3#/CF R-13 | ft2 | 2.08 | 2.64 | 3.13 | 07 21 13.10 Rigid Insulation
Wall Insulation | structure | Average Blown Mineral Wool R-13 | ft2 | 0.22 | 0.97 | 1.36 | 07 21 23.10 Poured Loose-Fill Insulation
Wall Insulation | structure | Average Blown Mineral Wool R-19 | ft2 | 0.34 | 1.47 | 2.05 | 07 21 23.10 Poured Loose-Fill Insulation
Baseboard | structure | Base Molding, Classic profile, 5/8" x5.5" | ft | 1.71 | 3.51 | 4.56 | 06 22 13.15 Moldings, Base
Baseboard | structure | Base Molding, Classic profile, 5/8" x5.5", Maple | ft | 3.98 | 6.03 | 7.45 | 06 22 13.15 Moldings, Base
Baseboard | structure | Base Molding, Modern profile, 5/8" x3.5" | ft | 1.02 | 2.82 | 3.81 | 06 22 13.15 Moldings, Base
Baseboard | structure | Base Molding, Modern profile, 5/8" x3.5", Maple | ft | 2.80 | 4.85 | 6.15 | 06 22 13.15 Moldings, Base
Refrigerator | structure | Refrigerator, 10-12 CF, minimum | ea | 560.00 | 633.00 | 730.00 | 11 30 13.16 Refrigeration Equipment
Refrigerator | structure | Refrigerator, 10-12 CF, maximum | ea | 500.00 | 622.00 | 730.00 | 11 30 13.16 Refrigeration Equipment
Refrigerator | structure | Refrigerator, 14-20 CF, minimum | ea | 680.00 | 761.00 | 865.00 | 11 30 13.16 Refrigeration Equipment
Refrigerator | structure | Refrigerator, 14-20 CF, minimum | ea | 670.00 | 852.00 | 1000.00 | 11 30 13.16 Refrigeration Equipment
Refrigerator | structure | Refrigerator, 21-29 CF, minimum | ea | 1600.00 | 1704.00 | 1900.00 | 11 30 13.16 Refrigeration Equipment
Refrigerator | structure | Refrigerator, 21-29 CF, maximum | ea | 2000.00 | 2243.00 | 2550.00 | 11 30 13.16 Refrigeration Equipment
Dishwasher | structure | Dishwasher, 4+ cycles, minimum | ea | 630.00 | 902.00 | 1100.00 | 11 30 13.17 Kitchen Cleaning Equipment
Dishwasher | structure | Dishwasher, 4+ cycles, average | ea | 835.00 | 1107.00 | 1325.00 | 11 30 13.17 Kitchen Cleaning Equipment
Dishwasher | structure | Dishwasher, 4+ cycles, maximum | ea | 950.00 | 1495.00 | 1850.00 | 11 30 13.17 Kitchen Cleaning Equipment
Microwave | structure | Microwave, minimum | ea | 119.00 | 251.00 | 330.00 | 11 30 13.15 Cooking Equipment
Microwave | structure | Microwave, maximum | ea | 320.00 | 585.00 | 745.00 | 11 30 13.15 Cooking Equipment
Clothes Washer | structure | Washer, minimum | ea | 700.00 | 886.00 | 1050.00 | 11 30 13.24 Washers
Clothes Washer | structure | Washer, maximum | ea | 950.00 | 1510.00 | 1875.00 | 11 30 13.24 Washers
Clothes Dryer | structure | Electric dryer, minimum | ea | 700.00 | 966.00 | 1175.00 | 11 30 13.25 Dryers
Clothes Dryer | structure | Electric dryer, maximum | ea | 900.00 | 1300.00 | 1575.00 | 11 30 13.25 Dryers
Clothes Dryer | structure | Gas dryer, average | ea | 970.00 | 1156.00 | 1350.00 | 11 30 13.25 Dryers
Oven/stove | structure | Cooking range, 30" free standing, 1 oven, minimum | ea | 630.00 | 703.00 | 800.00 | 11 30 13.15 Cooking Equipment
Oven/stove | structure | Cooking range, 30" free standing, 1 oven, maximum | ea | 900.00 | 1082.00 | 1250.00 | 11 30 13.15 Cooking Equipment
Oven/stove | structure | Cooking range, free standing, 21" wide, minimum | ea | 1200.00 | 1288.50 | 1450.00 | 11 30 13.15 Cooking Equipment
Oven/stove | structure | Cooking range, free standing, 21" wide, maximum | ea | 1900.00 | 2350.00 | 2775.00 | 11 30 13.15 Cooking Equipment
Range hood | structure | Range hood, 2 speed, vented, 30" wide, minimum | ea | 116.00 | 313.00 | 420.00 | 11 30 13.19 Kitchen Ventilation Equipment
Range hood | structure | Range hood, 2 speed, vented, 30" wide, maximum | ea | 835.00 | 1165.00 | 1400.00 | 11 30 13.19 Kitchen Ventilation Equipment
Bottom Outlets | structure | 15 amp duplex outlet, with 12/2 NM cable | ea | 9.75 | 52.75 | 74.50 | 26 05 90.10 Residential Wiring
Bottom Outlets | structure | 20 amp duplex outlet, with 12/2 NM cable | ea | 21.50 | 64.50 | 87.50 | 26 05 90.10 Residential Wiring
Top Outlets | structure | 15 amp duplex outlet, with 12/2 NM cable | ea | 9.75 | 52.75 | 74.50 | 26 05 90.10 Residential Wiring
Top Outlets | structure | 20 amp duplex outlet, with 12/2 NM cable | ea | 21.50 | 64.50 | 87.50 | 26 05 90.10 Residential Wiring
Light Switches | structure | single pole, 15 amp, with Romex cable | ea | 7.85 | 38.85 | 54.50 | 26 05 90.10 Residential Wiring
Light Switches | structure | 3-way, #14/3, type NM cable | ea | 9.95 | 46.45 | 65.00 | 26 05 90.10 Residential Wiring
Wiring | structure | 12/2 solid Romex | ea | 0.00 | 0.00 | 0.00 | 26 05 90.10 Residential Wiring | Included with switches and outlets
Electrical Panel | structure | 1-pole circuit breakers, 100 amp, 10 breakers, with pvc conduit and wire | ea | 460.00 | 1035.00 | 1350.00 | 26 05 90.10 Residential Wiring
Electrical Panel | structure | 1-pole circuit breakers, 150 amp, 14 breakers, with pvc conduit and wire | ea | 660.00 | 1305.00 | 1675.00 | 26 05 90.10 Residential Wiring
Electrical Panel | structure | 1-pole circuit breakers, 200 amp, 18 breakers, with pvc conduit and wire | ea | 1350.00 | 2075.00 | 2550.00 | 26 05 90.10 Residential Wiring
Windows | structure | Aluminum window, stock unit, casement, 3'-1"x3'-2" | ea | 730.00 | 829.00 | 955.00 | 08 51 13.20 Aluminum Windows
Windows | structure | Aluminum window, single hung, 2'x3' | ea | 223.00 | 322.00 | 400.00 | 08 51 13.20 Aluminum Windows
Windows | structure | Double hung, 2'x3', low E insul. Glass | ea | 152.00 | 197.00 | 234.00 | 08 52 10.50 Double-Hung
Windows | structure | Double hung 3'x4', double insulated glass | ea | 291.00 | 341.00 | 395.00 | 08 52 10.50 Double-Hung
Ceiling Paint | structure | latex interior paint + primer | ft2 | 0.28 | 0.35 | 0.49 | 09 91 23.72 Painting Walls and Ceilings, Interior
Ceiling | structure | Gypsum Board, standard, 3/8" | ft2 | 0.25 | 0.75 | 1.02 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, standard, 1/2" | ft2 | 0.25 | 0.75 | 1.02 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, standard, 5/8" | ft2 | 0.26 | 0.50 | 1.03 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, fire resistant, 1/2" | ft2 | 0.46 | 0.96 | 1.25 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, fire resistant, 5/8" | ft2 | 0.34 | 0.84 | 1.11 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, water resistant, 1/2" | ft2 | 0.33 | 0.83 | 1.10 | 09 29 10.30 Gypsum Board
Ceiling | structure | Gypsum Board, water resistant, 5/8" | ft2 | 0.43 | 0.93 | 1.21 | 09 29 10.30 Gypsum Board
Ceiling Insulation | structure | Generic Blown Cellulose R-30 | ft2 | 0.73 | 1.37 | 1.67 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Cellulose R-38 | ft2 | 0.93 | 1.85 | 2.28 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Cellulose R-49 | ft2 | 1.15 | 2.22 | 2.74 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Cellulose R-60 | ft2 | 1.46 | 2.74 | 3.34 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Fiberglass Batt R-30 | ft2 | 1.14 | 2.04 | 2.59 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Ceiling Insulation | structure | Generic Fiberglass Batt R-38 | ft2 | 1.44 | 2.39 | 2.99 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Ceiling Insulation | structure | Generic Fiberglass Batt R-49 | ft2 | 2.13 | 3.78 | 4.80 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Ceiling Insulation | structure | Generic Fiberglass Batt R-60 | ft2 | 2.28 | 4.08 | 5.18 | 07 21 16.10 Blanket Insulation for Floors/Ceilings
Ceiling Insulation | structure | Generic Blown Fiberglass R-30 | ft2 | 0.69 | 1.87 | 2.37 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Fiberglass R-38 | ft2 | 0.88 | 2.33 | 2.93 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Fiberglass R-49 | ft2 | 1.17 | 2.97 | 3.74 | 07 21 26.10 Blown Insulation
Ceiling Insulation | structure | Generic Blown Fiberglass R-60 | ft2 | 1.38 | 3.74 | 4.74 | 07 21 26.10 Blown Insulation
Roof Cover Underlayment | structure | Asphalt felt, #15 | ft2 | 0.04 | 0.11 | 0.16 | 07 51 13.40 Felts
Roof Cover Underlayment | structure | Asphalt felt, #30 | ft2 | 0.09 | 0.16 | 0.20 | 07 51 13.40 Felts
Roof Cover Underlayment | structure | Glass fibered roofing felt #15 | ft2 | 0.10 | 0.17 | 0.22 | 07 51 13.40 Felts
Roof Cover Underlayment | structure | Tarred felt, #15 | ft2 | 0.17 | 0.23 | 0.30 | 07 51 13.40 Felts
Roof Cover Underlayment | structure | Tarred felt, #30 | ft2 | 0.28 | 0.34 | 0.41 | 07 51 13.40 Felts
Roof Cover | structure | Asphalt Singles, standard strip, 25 year, pneumatic nailed | ft2 | 0.96 | 1.52 | 1.98 | 07 31 13.10 Asphalt Roof Shingles
Roof Cover | structure | Asphalt Singles, standard strip, 30 year, pneumatic nailed | ft2 | 1.26 | 1.90 | 2.42 | 07 31 13.10 Asphalt Roof Shingles
Roof Cover | structure | Asphalt Shingles, Premium, laminated multi-layer, 260-300lb/sq, pneumatic nailed | ft2 | 1.60 | 2.51 | 3.25 | 07 31 13.10 Asphalt Roof Shingles
Roof Cover | structure | Asphalt Shingles, Premium, laminated multi-layer, 300-385lb/sq, pneumatic nailed | ft2 | 4.15 | 5.21 | 6.30 | 07 31 13.10 Asphalt Roof Shingles
Roof Cover | structure | Clay Tiles, flat, interlocking 15" | ft2 | 5.60 | 7.58 | 9.35 | 07 32 13.10 Clay Tiles
Roof Cover | structure | Clay Tiles, roman pan, 18" | ft2 | 5.20 | 7.36 | 0.92 | 07 32 13.10 Clay Tiles
Roof Cover | structure | Clay Tiles, barrel mission 18" | ft2 | 4.35 | 6.51 | 8.25 | 07 32 13.10 Clay Tiles
Roof Cover | structure | Aluminum Roof Panels, .0115" | ft2 | 0.79 | 2.30 | 3.13 | 07 41 13.10 Aluminum Roof Panels
Roof Cover | structure | Aluminum Roof Panels, .024" | ft2 | 1.90 | 3.02 | 3.76 | 07 41 13.10 Aluminum Roof Panels
Roof Cover | structure | Steel roof panels, corrugated, 30 ga. | ft2 | 1.19 | 2.84 | 3.78 | 07 41 13.20 Steel Roofing Panels
Roof Cover | structure | Steel roof panels, corrugated, 26 ga. | ft2 | 2.00 | 3.81 | 4.91 | 07 41 13.20 Steel Roofing Panels
Roof Cover and underlayment combined | structure | Asphalt Shingles & 1 layer felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Asphalt Shingles & 2 layers felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Asphalt Shingles & fiberglass-felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Asphalt Shingles & synthetic underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Clay Tiles & 1 layer felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Clay Tiles & 2 layers felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Clay Tiles & fiberglass-felt underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Cover and underlayment combined | structure | Clay Tiles & synthetic underlay | ft2 | 0.00 | 0.00 | 0.00 |  | Costs estimated separately
Roof Sheathing | structure | OSB, 7/16", pneumatic nailed | ft2 | 0.47 | 0.98 | 1.27 | 06 16 36.10 Sheathing
Roof Sheathing | structure | OSB, 1/2", pneumatic nailed | ft2 | 0.47 | 0.99 | 1.29 | 06 16 36.10 Sheathing
Roof Sheathing | structure | OSB, 5/8", pneumatic nailed | ft2 | 1.07 | 1.64 | 2.03 | 06 16 36.10 Sheathing
Roof Sheathing | structure | Plywood, CDX, 5/16", pneumatic nailed | ft2 | 0.91 | 1.37 | 1.69 | 06 16 36.10 Sheathing
Roof Sheathing | structure | Plywood, CDX,3/8", pneumatic nailed | ft2 | 0.68 | 1.16 | 1.47 | 06 16 36.10 Sheathing
Roof Sheathing | structure | Plywood, CDX, 1/2", pneumatic nailed | ft2 | 0.76 | 1.29 | 1.63 | 06 16 36.10 Sheathing
Roof Sheathing | structure | Plywood, CDX, 5/8", pneumatic nailed | ft2 | 0.82 | 1.39 | 1.75 | 06 16 36.10 Sheathing
Roof Sheathing | structure | Plywood, CDX, 3/4", pneumatic nailed | ft2 | 0.94 | 1.56 | 1.96 | 06 16 36.10 Sheathing
Facade | structure | Brick Veneer Masonry, Standard, 6.75/SF | ft2 | 0 | 0 | 0 | 04 21 13.13 Brick Veneer Masonry
Facade | structure | Brick Veneer Masonry, Red, 6.75/SF | ft2 | 0 | 0 | 0 | 04 21 13.13 Brick Veneer Masonry
Facade | structure | Brick Veneer Masonry, English, full header every 2nd course, 10.13/SF | ft2 | 0 | 0 | 0 | 04 21 13.13 Brick Veneer Masonry
Facade | structure | Thin Brick Veneer, on metal panel | ft2 | 0 | 0 | 0 | 04 21 13.14 Thin Brick Veneer
Facade | structure | Thin Brick Veneer, on masonry/plaster | ft2 | 0 | 0 | 0 | 04 21 13.14 Thin Brick Veneer
Facade | structure | Aluminum Siding Panel, Corrugated | ft2 | 0 | 0 | 0 | 07 42 13.20 Aluminum Siding Panels
Facade | structure | Aluminum Siding Panel, Farm type | ft2 | 0 | 0 | 0 | 07 42 13.20 Aluminum Siding Panels
Facade | structure | Plywood siding, 3/8" | ft2 | 1.50 | 2.70 | 3.44 | 07 46 29.10 Plywood siding Options
Facade | structure | Plywood siding, 1/2" | ft2 | 1.98 | 3.27 | 4.1 | 07 46 29.10 Plywood siding Options
Facade | structure | Plywood siding, 3/4" | ft2 | 2.62 | 4.01 | 4.94 | 07 46 29.10 Plywood siding Options
Facade | structure | Vinyl siding, clapboard profile, double 4 | ft2 | 0 | 0 | 0 | 07 46 33.10 Vinyl Siding
Facade | structure | Vinyl siding, clapboard profile, double 5 | ft2 | 0 | 0 | 0 | 07 46 33.10 Vinyl Siding
Facade | structure | Vinyl siding, clapboard profile, single 10 | ft2 | 0 | 0 | 0 | 07 46 33.10 Vinyl Siding
Facade | structure | Wood, cedar bevel 1/2"x6" | ft2 | 4.60 | 6.13 | 7.3 | 07 46 23.10 Wood Board Siding
Facade | structure | Wood, cedar bevel 1/2"x8" | ft2 | 7.85 | 9.21 | 10.65 | 07 46 23.10 Wood Board Siding
Facade | structure | Wood, Cedar, rough sawn 1"x4" | ft2 | 9.15 | 11.20 | 13.1 | 07 46 23.10 Wood Board Siding
Facade | structure | Wood, Cedar, board & batten, 1"x12" | ft2 | 5.05 | 6.12 | 7.15 | 07 46 23.10 Wood Board Siding
Facade | structure | Stucco, Spray | ft2 | 0.81 | 1.06 | 1.27 | 09 96 53.10 Coatings, Elastomeric
Facade | structure | Polypropylene Siding, single profile, random grooves, double 7 | ft2 | 0 | 0 | 0 | 07 46 33.20 Polypropylene Siding
Facade | structure | Polypropylene Siding, single profile, random grooves, triple 5 | ft2 | 0 | 0 | 0 | 07 46 33.20 Polypropylene Siding
Facade | structure | Polypropylene Siding, shake profile, straight butt, double 7 | ft2 | 0 | 0 | 0 | 07 46 33.20 Polypropylene Siding
Facade | structure | EIFS, Field applied, 1" EPS Insulation | ft2 | 0 | 0 | 0 | 07 24 13.10 Exterior Insulation and Finish System
Facade | structure | EIFS, Field applied, 2" EPS Insulation | ft2 | 0 | 0 | 0 | 07 24 13.10 Exterior Insulation and Finish System
Facade | structure | EIFS, Field applied, 3" EPS Insulation | ft2 | 0 | 0 | 0 | 07 24 13.10 Exterior Insulation and Finish System
Exterior Wall Sheathing | structure | Plywood, CDX,3/8", pneumatic nailed | ft2 | 0.68 | 1.29 | 1.65 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | Plywood, CDX, 1/2", pneumatic nailed | ft2 | 0.76 | 1.41 | 1.80 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | Plywood, CDX, 5/8", pneumatic nailed | ft2 | 0.82 | 1.51 | 1.93 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | Plywood, CDX, 3/4", pneumatic nailed | ft2 | 0.94 | 1.69 | 2.15 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | OSB, 7/16", pneumatic nailed | ft2 | 0.47 | 1.08 | 1.42 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | OSB, 1/2", pneumatic nailed | ft2 | 0.47 | 1.15 | 1.53 | 06 16 36.10 Sheathing
Exterior Wall Sheathing | structure | OSB, 5/8", pneumatic nailed | ft2 | 1.07 | 1.76 | 2.21 | 06 16 36.10 Sheathing
Bookcase | contents
Books | contents
Entertainment Center | contents
Couch/Sofa | contents
Coffee Table/End Table | contents
Lamps | contents
Blinds | contents
Curtains/Drapes | contents
A/V equipment | contents
Television | contents
Dinner Table | contents
Dinner Chair | contents
China Cabinet/Buffet | contents
Small Kitchen Appliances | contents
Bed Frame | contents
Box Spring and Mattress | contents
Bedding | contents
Chest of Drawers/Dresser | contents
Night stand | contents
Bedroom Television | contents
Desk | contents
Computer | contents
Clothing | contents
Towels/Linens | contents

## All LCA Data
component | type | functional_unit | product | source_process | kg_co2e_source | kg_co2e_fu | old_ghg | source | source_functional_unit | conversion_details | source_note
Underfloor Insulation | structure | ft2 | Generic Blown Cellulose R-30 | Generic Blown Cellulose R-30 | 0.126298059 | 0.126298059 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Cellulose R-38 | Generic Blown Cellulose R-38 | 0.160025381 | 0.160025381 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Cellulose R-49 | Generic Blown Cellulose R-49 | 0.20643035 | 0.20643035 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Cellulose R-60 | Generic Blown Cellulose R-60 | 0.252763558 | 0.252763558 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Fiberglass Batt R-30 | Generic Fiberglass Batt R-30 | 0.289591301 | 0.289591301 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Fiberglass Batt R-38 | Generic Fiberglass Batt R-38 | 0.389765437 | 0.389765437 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Fiberglass Batt R-49 | Generic Fiberglass Batt R-49 | 0.477068035 | 0.477068035 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Fiberglass Batt R-60 | Generic Fiberglass Batt R-60 | 0.575003642 | 0.575003642 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Fiberglass R-30 | Generic Blown Fiberglass R-30 | 0.487133411 | 0.487133411 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Fiberglass R-38 | Generic Blown Fiberglass R-38 | 0.616986467 | 0.616986467 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Fiberglass R-49 | Generic Blown Fiberglass R-49 | 0.795626645 | 0.795626645 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Generic Blown Fiberglass R-60 | Generic Blown Fiberglass R-60 | 0.974174597 | 0.974174597 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Average Blown Mineral Wool R-30 | Average Blown Mineral Wool R-30 | 0.454519245 | 0.454519245 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Average Blown Mineral Wool R-38 | Average Blown Mineral Wool R-38 | 0.59437132 | 0.59437132 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Average Blown Mineral Wool R-49 | Average Blown Mineral Wool R-49 | 0.769186414 | 0.769186414 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Average Blown Mineral Wool R-60 | Average Blown Mineral Wool R-60 | 0.909038489 | 0.909038489 |  | BEES 2.1 | ft2
Underfloor Insulation | structure | ft2 | Polystyrene Foam Board R-5 | Polystyrene foam slab {GLO}¦ market for polystyrene foam slab ¦ Cut-off, S | 4.03 | 0.251875 |  | EcoInvent | kg | 32 sqft. Board weighs 2kg (https://www.homedepot.com/p/Owens-Corning-FOAMULAR-NGX-F-150-1-in-x-4-ft-x-8-ft-SSE-R-5-XPS-Rigid-Foam-Board-Insulation-20WENGX/315197840)
Underfloor Insulation | structure | ft2 | Polystyrene Foam Board R-10 | Polystyrene foam slab {GLO}¦ market for polystyrene foam slab ¦ Cut-off, S | 4.03 | 0.44078125 |  | EcoInvent | kg | 32 sqft. Board weighs 3.5kg (https://www.homedepot.com/p/Owens-Corning-FOAMULAR-NGX-F-250-2-in-x-4-ft-x-8-ft-SSE-R-10-XPS-Rigid-Foam-Board-Insulation-52DDNGX/315197962)
Underfloor Insulation | structure | ft2 | Polyurethane Foam Board R-13.1 | Polyurethane, rigid foam {RoW}¦ market for polyurethane, rigid foam ¦ Cut-off, S | 5.96 | 0.894 |  | EcoInvent | kg | 32 sqft Board weighs 4.8kg (https://www.homedepot.com/p/RMAX-Pro-Select-R-Matte-Plus-3-2-in-x-4-ft-x-8-ft-R-13-1-Foam-Insulation-Board-637898/313501510)
Underfloor Ductwork | structure | ft | Spiral-seam duct, steel, DN 125 | spiral-seam duct, steel, DN 125 | 9.35 | 2.849740928 |  | EcoInvent | m | 0.304 ft per m
Underfloor Ductwork | structure | ft | Spiral-seam duct, steel, DN 400 | spiral-seam duct, steel, DN 400 | 28.6 | 8.716854604 |  | EcoInvent | m | 0.304 ft per m
Underfloor Ductwork | structure | ft | Flexible duct, aluminium/PET, DN of 125 | flexible duct, aluminium/PET, DN of 125 | 1.35 | 0.41145992 |  | EcoInvent | m | 0.304 ft per m
Underfloor Ductwork | structure | ft | Polyethylene pipe, corrugated, DN 75 | polyethylene pipe, corrugated, DN 75 | 1.11 | 0.33831149 |  | EcoInvent | m | 0.304 ft per m
Underfloor Ductwork | structure | ft | Polyethylene pipe, DN 200, SDR 41 | polyethylene pipe, DN 200, SDR 41 | 10.1 | 3.078329773 |  | EcoInvent | m | 0.304 ft per m
Underfloor Ductwork | structure | ft | Ventilation duct, steel, 100x50 mm | ventilation duct, steel, 100x50 mm | 7.11 | 2.167022246 |  | EcoInvent | m | 0.304 ft per m
Heating/Cooling Unit or HVAC | structure | ea | Oil boiler, 10KW | Oil boiler, 10kW {GLO}¦ market for oil boiler, 10kW ¦ Cut-off, S | 509 | 509 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Oil boiler, 100KW | Oil boiler, 100kW {GLO}¦ market for oil boiler, 100kW ¦ Cut-off, S | 1990 | 1990 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Gas boiler, 10KW | Gas boiler {GLO}¦ market for gas boiler ¦ Cut-off, S | 509 | 509 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Wood furnace, 30kW | Furnace, logs, 30kW {GLO}¦ market for furnace, logs, 30kW ¦ Cut-off, S | 2460 | 2460 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Wood furnace, 6kW | Furnace, logs, 6kW {RoW}¦ market for furnace, logs, 6kW ¦ Cut-off, S | 439 | 439 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Pellet furnace, 15kW | Furnace, pellet, 15kW {GLO}¦ market for furnace, pellet, 15kW ¦ Cut-off, S | 3580 | 3580 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Pellet furnace, 50kW | Furnace, pellet, 50kW {GLO}¦ market for furnace, pellet, 50kW ¦ Cut-off, S | 6680 | 6680 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Pellet furnace, 25kW | Furnace, pellet, 25kW {GLO}¦ market for furnace, pellet, 25kW ¦ Cut-off, S | 2190 | 2190 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Pellet furnace, 9kW | Furnace, pellet, 9kW {GLO}¦ market for furnace, pellet, 9kW ¦ Cut-off, S | 683 | 683 |  | EcoInvent | ea
Heating/Cooling Unit or HVAC | structure | ea | Heat pump, 30kW | Heat pump, 30kW {GLO}¦ market for heat pump, 30kW ¦ Cut-off, S | 5040 | 5040 |  | EcoInvent | ea
Wood Subfloor | structure | ft2 | 3/8" OSB sheathing | 3/8" OSB sheathing - roof | 3.43E-01 | 3.43E-01 |  | BEES 2.1 | ft2
Wood Subfloor | structure | ft2 | 3/8" OSB sheathing | Oriented strand board {RoW}¦ market for oriented strand board ¦ Cut-off, S | 332 | 2.94E-01 |  | EcoInvent | m3 | 35.3 ft3 per m3. 4'x8'x(3/8)"=1 ft3 --> One 32ft2 sheet = 0.0283m3
Wood Subfloor | structure | ft2 | 3/8" OSB sheathing | Oriented strand board product, US SE/kg/US | 0.593 | 1.01E+01 |  | Check (not ecoinvent) | kg | 35.3 ft3 per m3. 4'x8'x(3/8)"=1 ft3 --> One 32ft2 sheet = 0.0283m3. Assume 600kg/m3 | Check if this includes transportation to consumer. If not, exclude or add transportation portion from BEES
Wood Subfloor | structure | ft2 | 3/8" OSB sheathing | Oriented strand board product, US SE/kg/US | 0.593 | 1.14E+01 |  | Check (not ecoinvent) | kg | 35.3 ft3 per m3. 4'x8'x(3/8)"=1 ft3 --> One 32ft2 sheet = 0.0283m3. Assume 680kg/m3 | Check if this includes transportation to consumer. If not, exclude or add transportation portion from BEES
Wood Subfloor | structure | ft2 | 3/8" Plywood sheathing | 3/8" Plywood sheathing - roof | 3.15E-01 | 3.15E-01 |  | BEES 2.1 | ft2
Finished Floor Underlayment | structure | ft2 | 3/8" OSB sheathing - roof | 3/8" OSB sheathing - roof | 3.43E-01 | 3.43E-01 |  | BEES 2.1 | ft2
Finished Floor Underlayment | structure | ft2 | 3/8" OSB sheathing - roof | Oriented strand board {RoW}¦ market for oriented strand board ¦ Cut-off, S | 332 | 2.94E-01 |  | EcoInvent | m3 | 35.3 ft3 per m3. 4'x8'x(3/8)"=1 ft3 --> One 32ft2 sheet = 0.0283m3
Finished Floor Underlayment | structure | ft2 | 3/8" Plywood sheathing | 3/8" Plywood sheathing - roof | 3.15E-01 | 3.15E-01 |  | BEES 2.1 | ft2
Finished Floor Underlayment | structure | ft2 | 3/8" Plywood sheathing | Plywood {RoW}¦ market for plywood ¦ Cut-off, S | 690 | 6.11E-01 |  | EcoInvent | m3 | 35.3 ft3 per m3. 4'x8'x(3/8)"=1 ft3 --> One 32ft2 sheet = 0.0283m3
Finished Floor Underlayment | structure | ft2 | 1/8" Wood Fiber Underlayment | Fibreboard, soft {RoW}¦ market for fibreboard, soft ¦ Cut-off, S | 178 | 5.25E-02 |  | EcoInvent | m3 | 35.3 ft3 per m3. 1ft2 x (1/8)/12ft = 0.0104ft3 --> 1ft2 = 2.95e-4m3
Finished Floor Underlayment | structure | ft2 | 1/4" Wood Fiber Underlayment | Fibreboard, soft {RoW}¦ market for fibreboard, soft ¦ Cut-off, S | 178 | 1.05E-01 |  | EcoInvent | m3 | 35.3 ft3 per m3. 1ft2 x (2/8)/12ft = 0.0208ft3 --> 1ft2 = 5.9e-4m3
Finished Floor | structure | ft2 | Average Hardwood | Average Hardwood | -0.25453343 | -0.25453343 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Average Hardwood Low-VOC Adhesive | Average Hardwood Low-VOC Adhesive | -0.67708943 | -0.67708943 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Average Engineered Hardwood | Average Engineered Hardwood | -0.21368595 | -0.21368595 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Average Engineered Hardwood Low-VOC Adhesive | Average Engineered Hardwood Low-VOC Adhesive | -0.21368595 | -0.21368595 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Terrazzo | Generic Terrazzo | 3.187057132 | 3.187057132 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Average Ceramic Tile | Average Ceramic Tile | 1.619582845 | 1.619582845 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Marble Tile | Generic Marble Tile | 2.70961955 | 2.70961955 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Cork Plank | Generic Cork Plank | 0.874577429 | 0.874577429 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Forbo Marmoleum - 2.5 mm | Forbo Marmoleum - 2.5 mm | 0.843276986 | 0.843276986 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Forbo Marmoleum - 2.0 mm | Forbo Marmoleum - 2.0 mm | 0.742869023 | 0.742869023 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Forbo Eternal | Forbo Eternal | 0.875132459 | 0.875132459 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Nylon | Generic Resid. Broadloom Carpet - Nylon | 1.743210364 | 1.743210364 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Nylon Low-VOC Adhesive | Generic Resid. Broadloom Carpet - Nylon Low-VOC Adhesive | 1.743210364 | 1.743210364 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Wool | Generic Resid. Broadloom Carpet - Wool | 3.650138088 | 3.650138088 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Wool Low-VOC Adhesive | Generic Resid. Broadloom Carpet - Wool Low-VOC Adhesive | 3.650138088 | 3.650138088 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Polyester | Generic Resid. Broadloom Carpet - Polyester | 1.134791378 | 1.134791378 |  | BEES 2.1 | ft2
Finished Floor | structure | ft2 | Generic Resid. Broadloom Carpet - Polyester Low-VOC Adhesive | Generic Resid. Broadloom Carpet - Polyester Low-VOC Adhesive | 1.134791378 | 1.134791378 |  | BEES 2.1 | ft2
Bottom Cabinets | structure | ea | 10ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 318 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bottom Cabinets | structure | ea | 10ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 636 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bottom Cabinets | structure | ea | 20ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 636 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bottom Cabinets | structure | ea | 20ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 1272 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Top Cabinets | structure | ea | 10ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 318 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Top Cabinets | structure | ea | 10ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 636 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Top Cabinets | structure | ea | 20ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 636 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Top Cabinets | structure | ea | 20ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 1272 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bathroom Bottom Cabinets | structure | ea | 3ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 95.4 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bathroom Bottom Cabinets | structure | ea | 3ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 190.8 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bathroom Top Cabinets | structure | ea | 3ft cabinets, 15kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 95.4 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Bathroom Top Cabinets | structure | ea | 3ft cabinets, 30kg per foot | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 | 190.8 |  | EcoInvent | kg | Assume weight of 15-30kg per linear foot of cabinets (https://www.homeforemost.com/how-much-does-a-kitchen-cabinet-weigh/).
Counter Tops | structure | ea | Natural Stone Countertop, 10ft | Natural Stone Countertop | 51.59 | 1.44E+02 |  | Other | m2 | Assume 3ft wide counter. 1m2 = 10.764ft2 | Adhikari, T., Mellentine, J., & Lewis, K. (2022). Life Cycle Assessment (LCA) of Natural Stone Countertops by Natural Stone Institute (NSI). Sustainable Minds. https://transparencycatalog.com/assets/uploads/pdf/Final_LCA-report_Stone-Countertop_Oct252022.pdf
Counter Tops | structure | ea | Natural Stone Countertop, 20ft | Natural Stone Countertop | 51.59 | 2.88E+02 |  | Other | m2 | Assume 3ft wide counter. 1m2 = 10.764ft2 | Adhikari, T., Mellentine, J., & Lewis, K. (2022). Life Cycle Assessment (LCA) of Natural Stone Countertops by Natural Stone Institute (NSI). Sustainable Minds. https://transparencycatalog.com/assets/uploads/pdf/Final_LCA-report_Stone-Countertop_Oct252022.pdf
Counter Tops | structure | ea | Ceramic/Polymer Countertop, 10ft | Ceramic/Polymer Countertop | 85.40 | 2.38E+02 |  | Other | m2 | Assume 3ft wide counter. 1m2 = 10.764ft2 | Silva, L., Silva, M., Bras, I., Domingos, I., Wessel, D., & Ferreira, J. (2021). A Cradle-to-Grave Life Cycle Assessment Study on a New Countertop Material. Journal of Ecological Engineering, 22(11), 239–245. https://doi.org/10.12911/22998993/142947
Counter Tops | structure | ea | Ceramic/Polymer Countertop, 20ft | Ceramic/Polymer Countertop | 85.40 | 4.76E+02 |  | Other | m2 | Assume 3ft wide counter. 1m2 = 10.764ft2 | Silva, L., Silva, M., Bras, I., Domingos, I., Wessel, D., & Ferreira, J. (2021). A Cradle-to-Grave Life Cycle Assessment Study on a New Countertop Material. Journal of Ecological Engineering, 22(11), 239–245. https://doi.org/10.12911/22998993/142947
Water Heater | structure | ea | Natural Gas Water Heater | Natural Gas Water Heater | 55.733 | 55.733 |  | Other | ea |  | Raluy, R. G., & Dias, A. C. (2020). Life cycle assessment of a domestic gas-fired water heater: Influence of fuel used and its origin. Journal of Environmental Management, 254, 109786. https://doi.org/10.1016/j.jenvman.2019.109786
Water Heater | structure | ea | LPG Water Heater | LPG Water Heater | 55.733 | 55.733 |  | Other | ea |  | Raluy, R. G., & Dias, A. C. (2020). Life cycle assessment of a domestic gas-fired water heater: Influence of fuel used and its origin. Journal of Environmental Management, 254, 109786. https://doi.org/10.1016/j.jenvman.2019.109786
Wall Paint - Interior | structure | ft2 | Generic Virgin Latex Paint | Generic Virgin Latex Paint | 0.205067768 | 0.205067768 |  | BEES 2.1 | ft2
Wall Paint - Interior | structure | ft2 | Generic Reprocessed Latex Paint | Generic Reprocessed Latex Paint | 0.095010164 | 0.095010164 |  | BEES 2.1 | ft2
Wall Paint - Interior | structure | ft2 | Generic Consolidated Latex Paint | Generic Consolidated Latex Paint | 0.156390784 | 0.156390784 |  | BEES 2.1 | ft2
Wall Paint - Exterior | structure | ft2 | Generic Virgin Latex Paint | Generic Virgin Latex Paint | 0.205067768 | 0.205067768 |  | BEES 2.1 | ft2
Wall Paint - Exterior | structure | ft2 | Generic Reprocessed Latex Paint | Generic Reprocessed Latex Paint | 0.095010164 | 0.095010164 |  | BEES 2.1 | ft2
Wall Paint - Exterior | structure | ft2 | Generic Consolidated Latex Paint | Generic Consolidated Latex Paint | 0.156390784 | 0.156390784 |  | BEES 2.1 | ft2
Exterior Doors | structure | ea | Exterior Door, Wood-Aluminum | Door, outer, wood-aluminium {GLO}¦ market for door, outer, wood-aluminium ¦ Cut-off, S | 110 | 220 |  | EcoInvent | m2 | Assume a door is 2m2
Exterior Doors | structure | ea | Exterior Door, Wood-Glass | Door, outer, wood-glass {GLO}¦ market for door, outer, wood-glass ¦ Cut-off, S | 111 | 222 |  | EcoInvent | m2 | Assume a door is 2m2
Interior Doors | structure | ea | Interior Door, Wood-Glass | Door, inner, glass-wood {GLO}¦ market for door, inner, glass-wood ¦ Cut-off, S | 67.8 | 135.6 |  | EcoInvent | m2 | Assume a door is 2m2
Interior Doors | structure | ea | Interior Door, Wood | Door, inner, wood {GLO}¦ market for door, inner, wood ¦ Cut-off, S | 55.8 | 111.6 |  | EcoInvent | m2 | Assume a door is 2m2
Sheetrock/drywall | structure | ft2 | Gypsum Wallboard Regular (1/2") | Gypsum Wallboard Regular (1/2") | 3.22E-01 | 0.322 |  | BEES 2.1 | ft2
Sheetrock/drywall | structure | ft2 | Gypsum Wallboard Type X (5/8") | Gypsum Wallboard Type X (5/8") | 4.36E-01 | 0.436 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Generic Blown Cellulose R-13 | Generic Blown Cellulose R-13 | 0.1186342 | 0.1186342 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Generic Blown Cellulose R-19 | Generic Blown Cellulose R-19 | 0.173378481 | 0.173378481 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Generic Fiberglass Batt R-13 | Generic Fiberglass Batt R-13 | 0.172068573 | 0.172068573 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Generic Fiberglass Batt R-19 | Generic Fiberglass Batt R-19 | 0.191655695 | 0.191655695 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Average Mineral Wool Board R-13 | Average Mineral Wool Board R-13 | 0.5594039 | 0.5594039 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Average Mineral Wool Board R-19 | Average Mineral Wool Board R-19 | 0.598987175 | 0.598987175 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Average Blown Mineral Wool R-13 | Average Blown Mineral Wool R-13 | 0.209778113 | 0.209778113 |  | BEES 2.1 | ft2
Wall Insulation | structure | ft2 | Average Blown Mineral Wool R-19 | Average Blown Mineral Wool R-19 | 0.27970415 | 0.27970415 |  | BEES 2.1 | ft2
Baseboard | structure | ft | 3/8" Plywood | Plywood {RoW}¦ market for plywood ¦ Cut-off, S | 690 | 0.30529 |  | EcoInvent | m3 | Assume 6" high x3/8" thick --> 1linear ft = 0.015625 ft3 = 0.000442450728
Baseboard | structure | ft | 3/8" Plywood sheathing | 3/8" Plywood sheathing - roof | 3.15E-01 | 0.315 |  | BEES 2.1 | ft2 | Assume 6" high baseboard --> 1 linear ft = 0.5ft2
Refrigerator | structure | ea | Refrigerator | Refrigerator {GLO}¦ market for refrigerator ¦ Cut-off, S | 291 | 291 |  | EcoInvent | ea
Dishwasher | structure | ea | Dishwasher | Dishwasher {GLO}¦ market for dishwasher ¦ Cut-off, S | 146 | 146 |  | EcoInvent | ea
Microwave | structure | ea | Microwave | Microwave oven {GLO}¦ market for microwave oven ¦ Cut-off, S | 58.9 | 58.9 |  | EcoInvent | ea
Clothes Washer | structure | ea | Clothes Washer | Washing machine {GLO}¦ market for washing machine ¦ Cut-off, S | 382 | 382 |  | EcoInvent | ea
Clothes Dryer | structure | ea | Clothes Dryer | Dryer {GLO}¦ market for dryer ¦ Cut-off, S | 210 | 210 |  | EcoInvent | ea
Oven/stove | structure | ea | Oven/stove | Cookstove {GLO}¦ market for cookstove ¦ Cut-off, S | 180 | 180 |  | EcoInvent | ea
Range hood | structure | ea | Range hood | Exhaust air roof hood, steel, DN 400 {GLO}¦ market for exhaust air roof hood, steel, DN 400 ¦ Cut-off, S | 63.8 | 63.8 |  | EcoInvent | ea
Bottom Outlets | structure | ea | Outlet | Switch, toggle type {GLO}¦ market for switch, toggle type ¦ Cut-off, S | 32 | 22.8 |  | EcoInvent | kg | Assume 1 switch weight 0.05kg
Top Outlets | structure | ea | Outlet | Switch, toggle type {GLO}¦ market for switch, toggle type ¦ Cut-off, S | 32 | 22.8 |  | EcoInvent | kg | Assume 1 switch weight 0.05kg
Light Switches | structure | ea | Switch, toggle type {GLO}¦ market for switch, toggle type ¦ Cut-off, S | Switch, toggle type {GLO}¦ market for switch, toggle type ¦ Cut-off, S | 32 | 22.8 |  | EcoInvent | kg | Assume 1 switch weight 0.05kg
Wiring | structure | 4m | Cable, three-conductor cable {GLO}¦ market for cable, three-conductor cable ¦ Cut-off, S | Cable, three-conductor cable {GLO}¦ market for cable, three-conductor cable ¦ Cut-off, S | 5.3 | 21.2 |  | EcoInvent | m | Assume 4m of cable per outlet/lightswitch
Electrical Panel | structure | ea | 200 amp, 30-space, 60-circuit | USEEIO analysis for NAICS Code 335930/US (Wiring device manufacturing) and unit cost of $198 | 77.49238822 | 77.49238822 |  | USEEIO v2.1 | $USD | Price from cost data table.
Electrical Panel | structure | ea | 200 amp, 40-space, 80-circuit | USEEIO analysis for NAICS Code 335930/US (Wiring device manufacturing) and unit cost of $298 | 116.629958 | 116.629958 |  | USEEIO v2.1 | $USD | Price from cost data table.
Electrical Panel | structure | ea | 200 amp, 30-space, 60-circuit | USEEIO analysis for NAICS Code 335930/US (Wiring device manufacturing) and unit cost of $285 | 111.542074 | 111.542074 |  | USEEIO v2.1 | $USD | Price from cost data table.
Windows | structure | ea | Aluminum Window Frame with Double Glazing glass | (Window frame, aluminium, U=1.6 W/m2K {GLO}¦ market for window frame, aluminium, U=1.6 W/m2K ¦ Cut-off, S) + (Glazing, double, U<1.1 W/m2K {GLO}¦ market for glazing, double, U<1.1 W/m2K ¦ Cut-off, S) | 724.7 | 724.7 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | PVC Window Frame with Double Glazing glass | (Window frame, poly vinyl chloride, U=1.6 W/m2K {GLO}¦ market for window frame, poly vinyl chloride, U=1.6 W/m2K ¦ Cut-off, S) + (Glazing, double, U<1.1 W/m2K {GLO}¦ market for glazing, double, U<1.1 W/m2K ¦ Cut-off, S) | 334.7 | 334.7 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | Wood-Metal Window Frame with Double Glazing glass | (Window frame, wood-metal, U=1.6 W/m2K {GLO}¦ market for window frame, wood-metal, U=1.6 W/m2K ¦ Cut-off, S) + (Glazing, double, U<1.1 W/m2K {GLO}¦ market for glazing, double, U<1.1 W/m2K ¦ Cut-off, S) | 369.7 | 369.7 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | Wood Window Frame with Double Glazing glass | (Window frame, wood, U=1.5 W/m2K {GLO}¦ market for window frame, wood, U=1.5 W/m2K ¦ Cut-off, S) + (Glazing, double, U<1.1 W/m2K {GLO}¦ market for glazing, double, U<1.1 W/m2K ¦ Cut-off, S) | 210.7 | 210.7 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | Aluminum Window Frame with Flat glass | (Window frame, aluminium, U=1.6 W/m2K {GLO}¦ market for window frame, aluminium, U=1.6 W/m2K ¦ Cut-off, S) + (Flat glass, coated {RoW}¦ market for flat glass, coated ¦ Cut-off, S) | 688.24 | 688.24 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | PVC Window Frame with Flat glass | (Window frame, poly vinyl chloride, U=1.6 W/m2K {GLO}¦ market for window frame, poly vinyl chloride, U=1.6 W/m2K ¦ Cut-off, S) + (Flat glass, coated {RoW}¦ market for flat glass, coated ¦ Cut-off, S) | 298.24 | 298.24 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | Wood-Metal Window Frame with Flat glass | (Window frame, wood-metal, U=1.6 W/m2K {GLO}¦ market for window frame, wood-metal, U=1.6 W/m2K ¦ Cut-off, S) + (Flat glass, coated {RoW}¦ market for flat glass, coated ¦ Cut-off, S) | 333.24 | 333.24 |  | EcoInvent | m2 | Assume a window is 1m2
Windows | structure | ea | Wood Window Frame with Flat glass | (Window frame, wood, U=1.5 W/m2K {GLO}¦ market for window frame, wood, U=1.5 W/m2K ¦ Cut-off, S) + (Flat glass, coated {RoW}¦ market for flat glass, coated ¦ Cut-off, S) | 174.24 | 174.24 |  | EcoInvent | m2 | Assume a window is 1m2
Ceiling | structure | ft2 | Gypsum Wallboard Regular (1/2") | Gypsum Wallboard Regular (1/2") | 3.22E-01 | 0.322 |  | BEES 2.1 | ft2
Ceiling | structure | ft2 | Gypsum Wallboard Type X (5/8") | Gypsum Wallboard Type X (5/8") | 4.36E-01 | 0.436 |  | BEES 2.1 | ft2
Ceiling Paint | structure | ft2 | Generic Virgin Latex Paint | Generic Virgin Latex Paint | 0.205067768 | 0.205067768 |  | BEES 2.1 | ft2
Ceiling Paint | structure | ft2 | Generic Reprocessed Latex Paint | Generic Reprocessed Latex Paint | 0.095010164 | 0.095010164 |  | BEES 2.1 | ft2
Ceiling Paint | structure | ft2 | Generic Consolidated Latex Paint | Generic Consolidated Latex Paint | 0.156390784 | 0.156390784 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Cellulose R-30 | Generic Blown Cellulose R-30 | 0.126298059 | 0.126298059 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Cellulose R-38 | Generic Blown Cellulose R-38 | 0.160025381 | 0.160025381 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Cellulose R-49 | Generic Blown Cellulose R-49 | 0.20643035 | 0.20643035 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Cellulose R-60 | Generic Blown Cellulose R-60 | 0.252763558 | 0.252763558 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Fiberglass Batt R-30 | Generic Fiberglass Batt R-30 | 0.289591301 | 0.289591301 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Fiberglass Batt R-38 | Generic Fiberglass Batt R-38 | 0.389765437 | 0.389765437 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Fiberglass Batt R-49 | Generic Fiberglass Batt R-49 | 0.477068035 | 0.477068035 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Fiberglass Batt R-60 | Generic Fiberglass Batt R-60 | 0.575003642 | 0.575003642 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Fiberglass R-30 | Generic Blown Fiberglass R-30 | 0.487133411 | 0.487133411 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Fiberglass R-38 | Generic Blown Fiberglass R-38 | 0.616986467 | 0.616986467 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Fiberglass R-49 | Generic Blown Fiberglass R-49 | 0.795626645 | 0.795626645 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Generic Blown Fiberglass R-60 | Generic Blown Fiberglass R-60 | 0.974174597 | 0.974174597 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Average Blown Mineral Wool R-30 | Average Blown Mineral Wool R-30 | 0.454519245 | 0.454519245 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Average Blown Mineral Wool R-38 | Average Blown Mineral Wool R-38 | 0.59437132 | 0.59437132 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Average Blown Mineral Wool R-49 | Average Blown Mineral Wool R-49 | 0.769186414 | 0.769186414 |  | BEES 2.1 | ft2
Ceiling Insulation | structure | ft2 | Average Blown Mineral Wool R-60 | Average Blown Mineral Wool R-60 | 0.909038489 | 0.909038489 |  | BEES 2.1 | ft2
Roof Cover Underlayment | structure | ft2 | 1 layer felt underlay |  |  | 0 |  | ??
Roof Cover Underlayment | structure | ft2 | 2 layer felt underlay |  |  | 0 |  | ??
Roof Cover Underlayment | structure | ft2 | fiberglass-felt underlay |  |  | 0 |  | ??
Roof Cover Underlayment | structure | ft2 | synthetic underlay |  |  | 0 |  | ??
Roof Cover | structure | ft2 | Asphalt Shingles |  |  | 0 |  | ??
Roof Cover | structure | ft2 | Clay Tiles |  |  | 0 |  | ??
Roof Cover and underlayment combined | structure | ft2 | Asphalt Shingles & 1 layer felt underlay | Asphalt Shingles & 1 layer felt underlay | 0.594974033 | 0.594974033 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Asphalt Shingles & 2 layers felt underlay | Asphalt Shingles & 2 layers felt underlay | 0.625108249 | 0.625108249 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Asphalt Shingles & fiberglass-felt underlay | Asphalt Shingles & fiberglass-felt underlay | 0.622448396 | 0.622448396 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Asphalt Shingles & synthetic underlay | Asphalt Shingles & synthetic underlay | 0.589045304 | 0.589045304 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Clay Tiles & 1 layer felt underlay | Clay Tiles & 1 layer felt underlay | 1.778839847 | 1.778839847 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Clay Tiles & 2 layers felt underlay | Clay Tiles & 2 layers felt underlay | 1.818869813 | 1.818869813 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Clay Tiles & fiberglass-felt underlay | Clay Tiles & fiberglass-felt underlay | 1.787249159 | 1.787249159 |  | BEES 2.1 | ft2
Roof Cover and underlayment combined | structure | ft2 | Clay Tiles & synthetic underlay | Clay Tiles & synthetic underlay | 1.542327064 | 1.542327064 |  | BEES 2.1 | ft2
Roof Sheathing | structure | ft2 | 3/8" OSB sheathing - roof | 3/8" OSB sheathing - roof | 3.43E-01 | 0.343 |  | BEES 2.1 | ft2
Roof Sheathing | structure | ft2 | 3/8" Plywood sheathing - roof | 3/8" Plywood sheathing - roof | 3.15E-01 | 0.315 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Generic Brick & Mortar | Generic Brick & Mortar | 3.368067977 | 0 | 3.3681 | BEES 2.1 | ft2
Facade | structure | ft2 | Anonymous Brick & Mortar Product 1 | Anonymous Brick & Mortar Product 1 | 3.483650077 | 0 | 3.4837 | BEES 2.1 | ft2
Facade | structure | ft2 | Anonymous Brick & Mortar Product 2 | Anonymous Brick & Mortar Product 2 | 3.622013697 | 0 | 3.622 | BEES 2.1 | ft2
Facade | structure | ft2 | Generic Aluminum Siding | Generic Aluminum Siding | 0.585697938 | 0 | 0.5857 | BEES 2.1 | ft2
Facade | structure | ft2 | CertainTeed Vinyl Siding | CertainTeed Vinyl Siding | 0.528034163 | 0 | 0.52803 | BEES 2.1 | ft2
Facade | structure | ft2 | CertainTeed Cedar Impressions Siding | CertainTeed Cedar Impressions Siding | 0.829223669 | 0.82922 |  | BEES 2.1 | ft2
Facade | structure | ft2 | CertainTeed WeatherBoards Siding | CertainTeed WeatherBoards Siding | 1.76036933 | 1.7604 |  | BEES 2.1 | ft2
Facade | structure | ft2 | CertainTeed RecycledContentWeatherBoards | CertainTeed RecycledContentWeatherBoards | 1.429562916 | 1.4296 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Generic Stucco Traditional (Residential) | Generic Stucco Traditional (Residential) | 1.729229549 | 1.7292 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Generic Cedar Siding | Generic Cedar Siding | 1.055966894 | 1.056 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Average Vinyl Siding | Average Vinyl Siding | 0.495670735 | 0 | 0.49567 | BEES 2.1 | ft2
Facade | structure | ft2 | Average Polypropylene Siding | Average Polypropylene Siding | 1.250203837 | 0 | 1.2502 | BEES 2.1 | ft2
Facade | structure | ft2 | Dryvit EIFS Cladding Outsulation MD (CA) | Dryvit EIFS Cladding Outsulation MD (CA) | 0.919439233 | 0 | 0.91944 | BEES 2.1 | ft2
Facade | structure | ft2 | Generic Stucco (1-Coat) Insulated Siding | Generic Stucco (1-Coat) Insulated Siding | 1.708920107 | 1.7089 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Average Insulated Vinyl Siding | Average Insulated Vinyl Siding | 0.633425475 | 0 | 0.63343 | BEES 2.1 | ft2
Facade | structure | ft2 | CertainTeed Recycled Content CedarBoards | CertainTeed Recycled Content CedarBoards | 0.424825153 | 0.42483 |  | BEES 2.1 | ft2
Facade | structure | ft2 | Dryvit EIFS Cladding Outsulation Plus (CA) | Dryvit EIFS Cladding Outsulation Plus (CA) | 1.185756249 | 0 | 1.1858 | BEES 2.1 | ft2
Exterior Wall Sheathing | structure | ft2 | 3/8" OSB sheathing - roof | 3/8" OSB sheathing - roof | 3.43E-01 | 0.343 |  | BEES 2.1 | ft2
Exterior Wall Sheathing | structure | ft2 | 3/8" Plywood sheathing - roof | 3/8" Plywood sheathing - roof | 3.15E-01 | 0.315 |  | BEES 2.1 | ft2
Bookcase | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Books | contents | ea | Paperback books | Printed paper, offset {GLO}¦ market for printed paper, offset ¦ Cut-off, S | 3 | 1.5 |  | EcoInvent | kg | Assume a typical paperback book weighs 0.5 kg
Entertainment Center | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Couch/Sofa | contents | ea
Coffee Table/End Table | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Lamps | contents | ea
Blinds | contents | ea
Curtains/Drapes | contents | ea
A/V equipment | contents | ea
Television | contents | ea |  | Television {GLO}¦ market for television ¦ Cut-off, S | 377 | 377 |  | EcoInvent | ea
Dinner Table | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Dinner Chair | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
China Cabinet/Buffet | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Small Kitchen Appliances | contents | ea
Bed Frame | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Box Spring and Mattress | contents | ea | Mattress without box spring | Mattress {GLO}¦ market for mattress ¦ Cut-off, S | 153 | 153 |  | EcoInvent | ea
Box Spring and Mattress | contents | ea | Mattress with box spring | Mattress {GLO}¦ market for mattress ¦ Cut-off, S | 306 | 306 |  | EcoInvent | ea
Bedding | contents | ea
Chest of Drawers/Dresser | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Night stand | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Bedroom Television | contents | ea
Desk | contents | ea |  | Furniture, wooden {GLO}¦ market for furniture, wooden ¦ Cut-off, S | 2.12 |  |  | EcoInvent | kg
Computer | contents | ea
Clothing | contents | ea
Towels/Linens | contents | ea